	TECHNICAL PERFORMANCE RECORD
	ENGINE GENERATOR AUTOMATIC TRANSFER SWITCH

	FACILITY TYPE                     
(ATCT, FSS, ARTCC, VOR, LOC, ETC.)
	DATES

FROM:                                               TO:     
	SUPERVISOR’S

SIGNATURE

	LOCATION

(CITY, STATE, AIRPORT, OTHER)    
	EQUIPMENT   
 AMPERES                                              MFGER                                                  CONTRACT NO   

	AUTOMATIC TRANSFER SWITCH (ATS)  PARAMETERS FOR LEGACY ATS

	DATE
(MM/DD/YY)
	TIME
(Z)
	Pickup Volts
	Dropout Volts
	Frequency Sensing
	Remarks
	Initials

	
	
	PR1
(VAC)
	PR2
(VAC)
	PR3
(VAC)
	PR4
(VAC)
	PR1
(VAC)
	PR2
(VAC)
	PR3
(VAC)
	OVER
(Hz)
	UNDER
(Hz)
	
	

	Nominal
	f
	  
	  
	  
	  
	  
	  
	  
	  
	
	

	Minimum
	  
	  
	  
	  
	  
	  
	  
	  
	  
	
	

	Maximum
	  
	  
	  
	  
	  
	  
	  
	  
	  
	
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	


FAA FORM 6980-12 (11/09)  





Page 1 of 2



                           
Electronic Form Location: http://feds.faa.gov
	TECHNICAL PERFORMANCE RECORD
	ENGINE GENERATOR AUTOMATIC TRANSFER SWITCH

	FACILITY TYPE                     
(ATCT, FSS, ARTCC, VOR, LOC, ETC.)
	DATES

FROM:                                               TO:     
	SUPERVISOR’S

SIGNATURE

	LOCATION

(CITY, STATE, AIRPORT, OTHER)    
	EQUIPMENT   

 AMPERES                                              MFGER                                                  CONTRACT NO   

	AUTOMATIC TRANSFER SWITCH (ATS)  PARAMETERS FOR KOHLER (COTS) ATS

	DATE
(MM/DD/YY)
	TIME
(Z)
	Normal Source Commercial/Utility
	Emergency Source Engine Generator
	Remarks
	Initials

	
	
	Normal Source UV Pickup  (VAC)
	Normal Source UV Dropout  (VAC)
	Normal Source UF Pickup  (Hz)
	Normal Source UF Dropout  (Hz)
	Emergency Source UV Pickup  (VAC)
	Emergency Source UV Dropout  (VAC)
	Emergency  Source UF Pickup  (Hz)
	Emergency Source UF Dropout  (Hz)
	
	

	Nominal
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	Minimum
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	Maximum
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  

	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  
	  


FAA FORM 6980-12 (11/09)  





Page 2 of 2



                           Electronic Form Location: http://feds.faa.gov





















