# Errata Sheet for

# Advisory Circular 150/5340-30D, Design Installation Details for Airport Visual Aids

Last Update: October 15, 2009

This errata sheet logs content errors that were identified after the advisory circular (AC) was published on September 30, 2008.  These errors have been corrected in the electronic versions of the AC available on the FAA website.

All page numbers refer to the PDF version of the document posted on www.faa.gov.

| # | Description of Correction | Location | Rationale | Date Error Corrected |
| --- | --- | --- | --- | --- |
| 1 | Add the following after the 3rd sentence in paragraph 6.3.c: “See Figures 131 and 132 for installation details.” | Page 45 (Replace pp. 45-47) | Needed clarification to ensure readers understood standards are applied to primary wind cone. | 03/06/2009 |
| 2 | Add the following at the end of paragraph 6.3.c: “See Figures 74 and 75 for installation details on supplemental wind cones.” | Page 45 (Replace pp. 45-47) | Needed clarification to ensure readers understood the standards are applied to supplemental wind cone. | 03/06/2009 |
| 3 | Replace Figure 74, “Typical Location of Supplemental Wind Cone”, with the revised figure (included below). | Page 186 | Figure 74 corrected so it is consistent with the standards addressed in section 6.3. | 03/06/2009 |
| 4 | Replace the light beam alignment tolerance of + ½ degree with + 1 degree. | Page 89, par. 11.1 | Standardizes light beam tolerance for all TCL, RGL, Stop Bar, and Clearance Bar Lights | 05/14/2009 |
| 5 | Remove the first sentence of A5 -1 “Electrical Notes”, (c) Field Lighting, comment (19). | Page 269 | Allows the use of plastics for fixtures certified in accordance AC 150/5345-46D, “Runway and Taxiway Light Fixtures” | 10/14/2009 |