| U.S. Department of Transportation ### Federal Aviation #### Administration |  | ##### Advisory Circular |  |
| --- | --- | --- | --- |
| Subject: AIRSIDE APPLICATIONS FOR ARTIFICIAL TURF | Date: 9/29/2007 Initiated by: AAS-100 |  | AC No: 150/5370-15 Change: |

- PURPOSE.  This Advisory Circular (AC) provides guidance for the planning, design, installation, and maintenance of aviation grade artificial turf in areas adjacent to the operational areas of an airport.

2.  BACKGROUND.  Specially designed artificial turf systems are available for use on airports in areas normally planted with natural turf.  These systems can mitigate localized erosion problems caused by jet blast, poor drainage, and vehicle loads.  The Federal Aviation Administration (FAA) conducted a study to investigate the ability of these systems to resist jet blast, weather effects, and contaminants (fuel, deicing chemicals, hydraulic fluids); to support vehicle loads; and to be skid and fire resistant.  At the time of the study, there were only two suppliers/installers of artificial turf for airside applications.

The study included an informal survey of airports that have test installations of these systems.  The results of the survey indicate the main reason for the use of artificial turf instead of natural turf is to mitigate soil erosion, which creates potentially damaging debris.  Secondary considerations for use of artificial turf were found to be abatement of turf management/low maintenance, wildlife control, and visual enhancement.  Research in investigating airside applications for artificial turf is incomplete.  Sufficient data are not available to report on the specific long-term operational performance and cost effectiveness of these systems, but indications are that artificial turf systems can be cost effective in comparison to the other solutions evaluated by the airports that have used the systems to address specific problem areas.

3.  APPLICATION.  The FAA recommends the guidelines and standards in this AC for artificial turf. This AC does not constitute a regulation and in general is not mandatory. However, use of these guidelines is mandatory for artificial turf funded under the Airport Improvement Program (AIP) or Passenger Facility Charge (PFC) Program. Mandatory terms such as “must” used herein apply only to those who purchase artificial turf using AIP or PFC funds. Artificial turf can be considered a substitute for natural turf although it is not cost effective for all applications. Artificial turf systems that meet the requirements of this AC can be used at locations adjacent to taxiway and apron pavement where the use of natural turf has resulted in repeated soil erosion, where natural turf is impractical (e.g. paved islands), or where natural turf has unusually high costs associated with its maintenance.

4.  PLANNING.  Sufficient data are not available on the performance of artificial turf in the case of high-speed veer-offs to consider its use along runways, runway ends, and high-speed taxiways.  Such use requires approval by the FAA Office of Airport Safety and Standards through the responsible FAA Airports Regional/District Office.

5.  ARTIFICIAL TURF SYSTEM DESIGN REQUIREMENTS.  Airside artificial turf systems must meet the following minimum design standards.  The design standards must be successfully tested prior to the installation of an airside artificial turf system.

a.  Jet Blast.  The artificial turf system must be designed and installed so it will not become displaced or damaged from expected aircraft jet blast.  For artificial turf located in safety areas, under normal operating conditions, there must be less than 5-percent migration or evacuation of infill material for the artificial turf system.  Anchors, seams, and ballast integrity must be confirmed through wind tunnel test procedures at various jet blast angles and with varied engine types and speeds.  An anchor pull test must be performed after installation is complete for each type of anchor used.

| Critical factors to be demonstrated | - Integrity of anchoring system - Integrity of joints - Stability of ballast at various jet blast angles |
| --- | --- |
| Laboratory tests | Wind tunnel testing |
| Field testing/post-installation | - Quality assurance - Anchor pull test |
| References | Respective aircraft manufacturers’ manuals, usually titled Airplane Characteristics for Planning Purposes |

The procedure described in Chapter 4 and Appendix C of research report DOT/FAA/AR-06/23, Airside Applications for Artificial Turf, is an acceptable procedure to evaluate jet blast resistance. The report is available on the FAA website at www.tc.faa.gov/its/worldpac/techrpt/ar06-23.pdf.

The following table shows the recommended profiles for evaluating the artificial turf system.

RECOMMENDED PROFILES FOR EVALUATING

AIRCRAFT JET BLAST RESISTANCE

| Average at 40 feet |  | Average at 75 feet |  |
| --- | --- | --- | --- |
| 12 repetitions for 1 month |  | 12 repetitions for 1 month |  |
| Time (sec) | Power (%) | Time (sec) | Power (%) |
| 0 | 85 | 0 | 85 |
| 240 | 85 | 180 | 85 |
| 250 | 90 | 190 | 90 |
| 375 | 90 | 280 | 90 |
| 380 | 85 | 290 | 85 |
| 565 | 85 | 470 | 85 |
| 580 | 100 | 485 | 100 |
| 595 | 100 | 495 | 100 |
| 600 | 85 | 510 | 85 |
| Note: Power is expressed in terms of percentage of take-off thrust |  |  |  |

b.  Load-Bearing Capacity.  The artificial turf system must be constructed on a prepared surface capable of supporting the occasional passage of the heaviest aircraft using the adjacent pavement and support the occasional passage of the heaviest anticipated traffic (e.g. maintenance, snow removal, and ARFF vehicles) without structural damage to the aircraft or vehicles and without rupturing, tearing, or shearing the material, seams, or connections to anchor systems.  It must be designed to perform satisfactorily under all local weather, temperature, and soil conditions.  Surface deformations in excess of 3 inches or that allow shoving or wrinkles in the material will require immediate inspection and repair.

| Critical factors to be demonstrated | - Turf must not shear or pull from the anchoring system under design wheel loading. - System must maintain its integrity when subjected to design traffic loads. |
| --- | --- |

c.  Drainage Characteristics.  The artificial turf system must be designed and installed so water does not accumulate on the surface or cause other drainage problems.  Heavy precipitation must not wash/flush any infill material from the turf surface.  Pre-installation testing must include measuring surface runoff drainage coefficients and permeability.  Testing must conform to the German Institute for Normalization (DIN) 18-035 Part 6, Water Permeability of Synthetic Turf Systems and Permeable Bases.

| Critical factors to be demonstrated | Heavy precipitation must not wash/flush any infill material from the turf surface. |
| --- | --- |
| Laboratory tests | Testing must conform to the German Institute for Normalization (DIN) 18-035 for the turf product prior to installation. |
| Field tests | DIN 18-035 |

Longitudinal and transverse grade requirements for airside surfaces can be found in FAA AC 150/5300-13, Airport Design.

d.  Skid Resistance.  The artificial turf must not have properties inferior to natural grass under wet/dry and above/below freezing conditions.  Pre-installation testing must conform to ASTM C 1028, Standard Test Method for Determining the Static Coefficient of Friction of Ceramic Tile and Other Like Surfaces by the Horizontal Dynamometer Pull-Meter Method.  In-field /post-installation testing must conform to ASTM C 1028.

| Critical factors to be demonstrated | The turf must not have properties inferior to natural grass under wet/dry and above/below freezing conditions. |
| --- | --- |
| Laboratory tests | Conform to ASTM C 1028, Standard Test Method for Determining the Static Coefficient of Friction of Ceramic Tile and Other Like Surfaces by the Horizontal Dynamometer Pull-Meter Method. |
| Field testing/post-installation | - Quality assurance procedure followed. - Tests in accordance with ASTM C 1028. |

Chapter 4 of research report DOT/FAA/AR-06/23, Airside Applications for Artificial Turf, contains limited results from test method ASTM C 1028 for materials that have been installed at airports.

e.  Durability.  Installed material must maintain its integrity when maintained in accordance with the manufacturer’s recommendations.  Pre-installation testing must include ASTM D 4632, Standard Test Method for Grab Breaking Load and Elongation of Geotextiles, and ASTM D 1435, Standard Practice for Outdoor Weathering of Plastics.

| Critical factors to be demonstrated | - Limited visual degradation may occur over the life expectancy of the turf product. The system must maintain its integrity when subjected to extended exposure to UV Light. - If rolls or extended lengths of material are joined, it must be demonstrated that the strength of joints is equal to or greater than the material being joined and that strength is maintained throughout the expected life of the system. |
| --- | --- |
| Laboratory tests | ASTM D 4632, Standard Test Method for Grab Breaking Load and Elongation of Geotextiles, and ASTM D 1435, Standard Practice for Outdoor Weathering of Plastics. |
| Field testing/post-installation | Quality assurance procedure followed. |

f.  Artificial Turf Infill.  All artificial turf systems must incorporate a non-flammable infill system, preferably sand.  The gradation of the infill material must not fall outside the gradation limits provided for winter operations sand contained in FAA AC 150/5200-30, Airport Winter Safety and Operations.

6.  MATERIAL CHARACTERISTICS.  Artificial turf products must meet the following requirements:

a.  Flammability.	 Artificial turf products must have documented flammability testing to ensure the material does not emit toxic fumes when enflamed.  Tests must demonstrate the turf is easily extinguishable with conventional firefighting materials.

Pre-installation testing must conform to ASTM D 4804, Standard Test Method for Determining the Flammability Characteristics of Non-Rigid Solid Plastics.  A cone calorimeter for smoke analysis test must be performed prior to installation.  The manufacturer must provide documentation of burn tests for acceptance.

| Critical factors to be demonstrated | - Easily extinguishable with conventional fire fighting materials. - Does not emit toxic fumes when enflamed. |
| --- | --- |
| Laboratory tests | - Conform to ASTM E 84/ NFPA 251, Standard Methods of Tests of Fire Resistance of Building Construction and Material. - ASTM D 4804, Standard Test Method for Determining the Flammability Characteristics of Non-Rigid Solid Plastics. - A cone calorimeter for smoke analysis. |

b.  Chemical Resistance.  Artificial turf products must endure extensive chemical resistance tests prior to being approved for airport use.  The tests must conform to ASTM D 4632, Standard Test Method for Grab Breaking Load and Elongation of Geotextiles.  The product must be resistant to deterioration due to prolonged exposure to the following elements by comparative testing of original and aged specimens.

  - Aircraft and Runway/Taxiway Deicing Chemicals.

  - Aircraft Fuels.

  - Hydraulic Fluids.

  - Lubricating Oils.

  - Salt.

  - Occasional Exposure to Herbicides.

| Critical factors to be demonstrated | The product must be resistant to deterioration due to prolonged exposure and comparative testing of original and aged specimens. |
| --- | --- |

c.  Resistance to Ultraviolet Rays.  Limited visual degradation may occur over the life expectancy of the turf product.  Turf chemical compounds must be pre-tested in accordance with ASTM G 90-98, Standard Practice for Performing Accelerated Outdoor Weathering of Nonmetallic Materials Using Concentrated Natural Sunlight, and ASTM WK572, Specification for Durability of Turf Reinforcement Mats to Laboratory Accelerated Weathering.

d.  Wildlife.  Artificial turf systems must be designed and installed to offer no source of food, water, or shelter for animals, including but not limited to reptiles, rodents, and birds.

e.  	Plant Growth.  Artificial turf systems must be designed and installed to prevent unintended plant growth from penetrating up through the turf backing.  Artificial turf systems must be designed to withstand periodic applications of chemicals intended to prevent or eradicate plant growth.

f.	Turf Infill.  Materials used as an artificial turf infill must not support combustion and must not exceed the gradation requirements for winter operation sand found in AC 150/5200-30, Airport Winter Safety and Operations.  The infill material must be designed to allow occasional exposure to herbicides.

7.  DESIGN SUBMITTAL. The artificial turf system design and plans and specifications must be certified as meeting all the requirements of this AC and must be submitted to the airport sponsor for review and approval.  Installations proposed along runways, runway ends, and high-speed taxiways require approval by the FAA Office of Airport Safety and Standards through the responsible FAA Airports Regional/District Office.  The submittal must include all design assumptions and data utilized in its development as well as proposed construction procedures and techniques.

8.  INSTALLATION.

a.	Base preparation.  Base preparation must be conducted in a manner required by the artificial turf manufacturer and meet the specific needs of the airport.  FAA specifications for free-draining non-frost susceptible base material or state Department of Transportation specifications for high-quality free-draining non-frost susceptible base material may be used.

b.	Post-installation checks.  Checks must be conducted in accordance with the artificial turf manufacturer’s post-installation checklist.

9.  QUALITY ASSURANCE.  Suppliers of artificial turf system systems must demonstrate that their firm administers a quality assurance program that includes defined quality assurance procedures and a quality assurance manual. The quality procedures must ensure that materials and installation procedures conform to those used in test site applications.  Checks must be in place to assure the systems are installed according to quality procedures, and an internal audit must be conducted.  The supplier must present to the airport owner Certificates of Origin that have been issued by the artificial turf manufacturer.

10.  MAINTENANCE.  Experience to date suggests that periodic brooming and additions to infill material will be required during the useful life of the artificial turf system.  The artificial turf system supplier/installer must provide inspection and maintenance program documentation to the airport detailing any necessary procedures, equipment, and protocols for preventative maintenance and repair.  The airport staff and/or turf supplier must administer the plan in accordance with a pre-established schedule.  The plan must include inspection procedures to ensure the product is performing according to established quality standards.

11.  DOCUMENTATION.   Airport documents must be annotated to show locations and dimensions of artificial turf installations.  These annotations must be made after installation is complete and should be communicated to all appropriate airport personnel.

12.  RELATED READING MATERIAL.  Publications referenced in this AC are available from the following sources:

a.  FAA ACs: www.faa.gov/airports_airtraffic/airports/resources/advisory_circulars

b.  DOT/FAA/AR-06/23, Airside Applications for Artificial Turf: www.tc.faa.gov/its/worldpac/techrpt/ar06-23.pdf

c.  American Society for Testing and Materials (ASTM) International: 100 Barr Harbor Drive, PO Box C700, West Conshohocken, PA  19428-2959, or www.astm.org

d.  German Institute for Normalization (English version): http://www.din.de/cmd?level=tpl-home&contextid=din&languageid=en

13.  COMMENTS OR SUGGESTIONS. Send comments or suggestions for improving this AC to—

Manager, Airport Engineering Division

Federal Aviation Administration

ATTN:  AAS-100

800 Independence Avenue SW

Washington DC 20591

David L. Bennett

Director of Airport Safety and Standards